## How to use
Energy Audit Findings Log
A free findings log for energy auditors: organize findings by area and issue with recommendations and estimated savings in Sheets or Excel.
Quick start
1 | Open the Findings tab and replace the sample rows with your own — one row per entry. Formulas fill in automatically for new rows.
2 | Savings and rebates are estimates; say so in the report and confirm current rebate programs with the utility.
3 | Sort by payback to give the homeowner a clear do-first list.
4 | Keep a backup copy before restructuring columns; renaming a header is safe, deleting a column used in formulas is not.
Colour key
Yellow cells: type your numbers here.
Grey cells: calculated automatically. Leave them alone.
Red highlight: overdue or below a limit. Needs attention.
Amber highlight: getting close. Check soon.
Sample rows are examples. Overwrite or delete them. Formulas extend to new rows automatically. Works in Excel and Google Sheets (File → Import).

## Findings
Area | Finding | Recommendation | Priority | Est. cost | Est. annual savings | Rebate available | Net cost | Simple payback (years)
Attic | R-19 insulation, gaps at hatch | Air seal and add blown-in to R-49 | High | 2400 | 340 | 600 | 1800 | 5.3
Basement / crawlspace | Rim joist uninsulated | Spray foam rim joist | High | 1200 | 160 | 300 | 900 | 5.6
HVAC | Duct leakage 22% to outside | Seal ducts in attic | Medium | 900 | 180 | 200 | 700 | 3.9
Windows and doors | Single-pane windows (8) | Replace with ENERGY STAR windows | Low | 9600 | 220 | 0 | 9600 | 43.6
Water heating | Electric tank, 14 years old | Heat pump water heater | Medium | 3200 | 380 | 1750 | 1450 | 3.8

## Report
Item | Value | Notes
Audit
Client | Morgan residence
Blower door CFM50 | 3400 | Measured before improvements.
Totals
Total est. cost | 17300
Total rebates | 2850
Total est. annual savings | 1280
High-priority items | 2