## How to use
Facility PM Schedule
A free PM schedule for facility management: track preventive maintenance by asset and interval with next-due and overdue flags in Sheets or Excel.
Quick start
1 | Open the PM schedule tab and replace the sample rows with your own — one row per entry. Formulas fill in automatically for new rows.
2 | When a PM is done, update Last done; Next due moves forward by the interval and turns red when it passes.
3 | Life-safety items (fire, generator, backflow) often have legal intervals; keep their certificates with your records.
4 | Keep a backup copy before restructuring columns; renaming a header is safe, deleting a column used in formulas is not.
Colour key
Yellow cells: type your numbers here.
Grey cells: calculated automatically. Leave them alone.
Red highlight: overdue or below a limit. Needs attention.
Amber highlight: getting close. Check soon.
Sample rows are examples. Overwrite or delete them. Formulas extend to new rows automatically. Works in Excel and Google Sheets (File → Import).

## PM schedule
Asset | Location | Task | Interval (days) | Last done | Owner | Status | Next due
RTU-1 (Carrier 10-ton) | Roof | Replace filters, check belts | 90 | 2026-07-25 | HVAC vendor | Scheduled | 2026-10-23
RTU-2 (Carrier 10-ton) | Roof | Replace filters, check belts | 90 | 2026-07-10 | HVAC vendor | Scheduled | 2026-10-08
Fire extinguishers (24) | All floors | Monthly visual inspection | 30 | 2026-09-14 | Facilities tech | Scheduled | 2026-10-14
Emergency generator | Exterior | Monthly load test | 30 | 2026-09-08 | Facilities tech | Deferred | 2026-10-08
Backflow preventer | Mechanical room | Annual certification test | 365 | 2025-12-17 | Plumbing vendor | Scheduled | 2026-12-17
Elevator | Lobby | Service contract visit | 30 | 2026-10-01 | Elevator vendor | Done | 2026-10-31
Formulas:
Next due = IF([Asset]="","",([Last done]+[Interval (days)]))

## Summary
Item | Value | Notes
Overview
Entries | 6
Overdue (next due) | 2
By status
Status: Scheduled | 4
Status: In progress | 0
Status: Done | 1
Status: Deferred | 1